SITE SPECIFIC RECOMMENDATIONS

NORTH REGION:	Central District

LOCATION 		Earl Bales Park - Main Play Space	         											Ward 9

| INVENTORY # | BUILT | DEFICIENCIES | RECOMMENDATIONS | COST ESTIMATE |  |  | OTHER |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DESCRIPTION |  |  |  | REPAIRS | LABOUR | BASE | CONSIDERATIONS |
| PLG0101SSM3006P |  | -improper spacing | -adjust 8 bearings |  | 2 |  |  |
| 4 Belt Senior |  | -S-hooks | -replace | 10 | 1 |  |  |
| PLG01SBW2312P |  | -none |  |  |  |  |  |
| Sand Box |  |  |  |  |  |  |  |
| PLG0201SSM3006P |  | -improper spacing | -adjust 8 bearings |  | 2 |  |  |
| 4 Seat Baby |  | -seats | -change two | 130 | 1 |  |  |
|  |  | -S-hooks | -replace | 10 | 1 |  |  |
| PLG02SRW2313P |  | -entanglement on both straight slides | -fill with caulking |  | 1 |  |  |
| Sr. Cr. Structure |  | -track ride attached | -remove |  | 3 |  | -T.B.D. |
|  |  | -transition form jr. To sr. | -picket transition | 300 | 3 |  |  |
|  |  | -no barriers at slide sitting section | -add barriers | 1200 | 5 |  |  |
|  |  | -barriers not close enough to platform | -replace | 720 | 12 |  |  |
|  |  | -fire pole too low | -re-install | 20 | 2 |  |  |
|  |  | -overhead horizontal ladder too high | -re-install at track ride |  | 4 |  |  |
|  |  | -distance between rungs on climbers | -replace | 400 | 4 |  |  |
|  |  | -elevated surface on crawl tube | -cap | 10 | 2 |  |  |
| PLG0401SST3006P |  | -tilted, entrapment | -remove and replace | 1200 | 8 |  |  |
| Senior Slide |  | -exposed footings |  |  |  |  |  |
| Base Material |  | -compacted | -rototill |  | 8 |  |  |
|  |  |  | -base material |  |  | 1200 |  |
|  |  |  | -excavate |  | 8 | 1500 |  |
| Total |  |  |  | 4000 | 67 | 2700 |  |

File Name: K:\PLAY\NORTH\WARD-9\BALES-MN