SITE SPECIFIC RECOMMENDATIONS

NORTH REGION:	East District

LOCATION 		Leslie Park															Ward 12

| INVENTORY # | BUILT | DEFICIENCIES | RECOMMENDATIONS | COST ESTIMATE |  |  | OTHER |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DESCRIPTION | 1997 |  |  | REPAIRS | LABOUR | BASE | CONSIDERATIONS |
| PLG01SSW4552P |  | -S-hooks | -replace | 10 | 1 |  |  |
| 2 Belt |  | -play area | -modify cross beam | 20 | 2 |  |  |
| PLG02TTW4552P |  | -none |  |  |  |  |  |
| Spring Teeter Totter |  |  |  |  |  |  |  |
| PLG03JRW4552P |  | -improper barriers >30” | -install pickets | 50 | 3 |  |  |
| Jr Structure |  | -play area | -cap posts | 20 | 1 |  |  |
| PLG04INW4552P |  | -improper barriers > 48” | -install pickets | 100 | 5 |  |  |
| Jr Structure |  | -track rider does not meet standard 14.5 | -remove or relocate |  |  |  |  |
|  |  | -play area | -router beams |  | 4 |  |  |
|  |  | -sheer crush points | -retrofit to bottom of frame | 50 | 2 |  |  |
| PLG05SSW4552P |  | -S-hooks | -replace | 10 | 1 |  |  |
| 2 Baby |  | -play area | -modify cross beam | 20 | 2 |  |  |
| PLG06CHB4552P |  | -none |  |  |  |  |  |
| Bar Gym |  |  |  |  |  |  |  |
| PLG07TAT4552P |  | -non sufficient safety zone | -relocate or remove bush |  | 6 |  | T.B.D. |
| Talk Tube |  |  |  |  |  |  |  |
| PLG08TAP4552P |  | -none |  |  |  |  |  |
| Picnic Table |  |  |  |  |  |  |  |
| Base Material |  | -compacted | -rototill, add base 40 T |  | 8 | 600 |  |
|  |  |  | -excavate |  | 8 | 1000 |  |
| Total |  |  |  | 280 | 43 | 1600 |  |

File Name: K:\PLAY\NORTH\WARD-12\LESLIE