SITE SPECIFIC RECOMMENDATIONS

WEST	REGION:	East District

LOCATION		Bert Robinson Park														Ward 28

| INVENTORY # | BUILT | DEFICIENCIES | RECOMMENDATIONS | COST ESTIMATE |  |  | OTHER |
| --- | --- | --- | --- | --- | --- | --- | --- |
| DESCRIPTION |  |  |  | REPAIRS | LABOUR | BASE | CONSIDERATIONS |
| PLG01SSM |  | -no available safety zone | -remove |  | 4 |  |  |
| 2 Baby |  |  |  |  |  |  |  |
| PLG02SRM |  | -tire swing not up to standard | -remove |  | 4 |  |  |
| Sr. Cr. Structure |  | -play surface on all top rails | -install 1” strips | 200 | 4 |  |  |
|  |  | -play surface on all head posts | -install caps | 100 | 4 |  |  |
|  |  | -fireman pole requires >15” opening | -install 3 pickets | 25 | 2 |  |  |
|  |  | -entrapment between platforms | -install 2 1X2 | 25 | 2 |  |  |
| PLG03JRM |  | -play surface on top rails | -install 1” strips | 200 | 4 |  |  |
| Jr. Cr. Structure |  | -play surface on all head posts | -install caps | 100 | 4 |  |  |
| Base Material |  | -compacted | -rototill, add base 4T |  | 8 | 60 |  |
| TOTAL COST |  |  |  | 650 | 36 | 60 |  |

File Name: K:\PLAY\ETOBI\WARD-28\ROBINSO.WPD